The standard for a receiver’s S-meter is S9 = 50uV and 1 S-unit is 6dB (every 3 db is doubling).

The crystal oscillator has an accurate 1 μV and 50 μV output levels.

RF Output Level are 1 μV (-107 dBm) and 50 μV (-73 dBm) into 50 ohms with Output Accuracy Better than +/- 2 dB.

The 50 uV is used to set the S-meter reading accurately.  The 1 uV should only be used for sensitivity and signal to noise of the receiver (This is a low level signal for receiving testing).

The signal generator is ideal for receiver test and alignment. The 1-μV output can be used to measure a receiver's sensitivity, while the 50-μV output is useful for S-meter calibration.  Also check the ARRL site for more details on testing and measuring receiver specifications.

A 50-μV signal is a commonly-accepted level for "S9," and a 1-μV signal is often used to

Measure signal-to-noise ratio to evaluate the sensitivity of a receiver.  The generator can be used to evaluate a new receiver, check the condition of an old receiver, or check a receiver after exposure to lightning or other traumatic events. A homebrew receiver’s sensitivity is easily measured, and design choices can be evaluated to improve the design.

The signal generator produces a signal with very accurate amplitude. This is due to the extremely low power level of the crystal oscillator board, layout, and component selection.  The output of the oscillator (-50 dBm or 10 nanowatts into 50 ohms) is attenuated by 23 dB to obtain the 50-μV test signal. An additional 34 dB attenuator stage is placed in series with the signal path by switch S2 when an output level of 1 μV is needed.  Output accuracy is determined by the precision voltage regulator and 1% resistors.

Receiver Sensitivity Testing (Using 1 μV Signal)

The signal generator can be used to test absolute receiver sensitivity, providing a means of comparing various receivers or transceivers.

1. If you're testing a transceiver, turn its power output level to minimum as a precaution, and disconnect the key or keyer and mic. If you're using an ATU, put it into bypass mode.

2. Connect the signal generator to the antenna jack on the receiver (or transceiver). You can connect the signal generator directly to receiver or transceiver using a suitable adapter.

NOTE: Keep your hands and other objects away from the signal generator during measurements, as this may affect the output signal level, especially at the 1-microvolt setting.

3. Turn AGC OFF if possible.

4. Set RF GAIN to maximum.

5. Turn off the attenuator.

6. Turn on the preamp. NOTE: Preamp OFF tests may also be useful.

7. Select CW mode, narrow pass band if available ("CW-N" on some rigs).

8. If possible, set the filter bandwidth for about 500 Hz, the standard for lab receiver tests.

9. Turn off, bypass, or widen the audio filter if applicable.

10. Connect the probes of a digital multimeter (DMM) across the speaker terminals. Set the DMM for 2 or 3 volts AC (or RMS) full-scale. If you use the headphone jack, don't plug in headphones at the same time, since this will form voltage dividers with R35 and R36, lowering the AC voltage reading.)

11. Set the receiver or transceiver for about the signal generator output frequency that you have selected.

12. Turn on the signal generator and set it for 1 microvolt output. Replace the battery if the power-on LED does not light.

13. Locate the signal generator signal with the receiver. Peak the signal in the crystal filter pass band.

NOTE: BFO settings can affect sensitivity. If the pass band peak occurs at a pitch well outside the expected range (typically 500-800 Hz), you may need to realign your BFO settings using an appropriate method.

14. Set the AF GAIN control fully clockwise (if this results in a signal that is loud enough to damage the speaker or cause distortion, use a reduced setting, but make sure you use the same setting each time).

15. Note the DMM's reading: _______ Vrms (this is the S+N, or signal+noise reading). NOTE: This value is useful for comparing overall receiver gain with that of a reference receiver.

16. Turn off the signal generator and note the new reading: _______ Vrms (this is the N or noise reading).

Signal-to-Noise And MDS Calculations

Using the results from the previous page, you can calculate the signal-to-noise to noise ratio (S+N/N) at 1 microvolt, and estimate the MDS (minimum discernable signal) as follows:

A. Divide S+N by N; call the resulting ratio R.

B. Take the base-10 logarithm of R ("log" key on most calculators).

C. Multiply the result by 20 to obtain the S+N/N ratio at 1 microvolt, in dB.

D. If the S+N/N is greater than 10 dB, then the MDS is approximately equal to the result from (C) subtracted from -107 dBm.

Example: DMM readings of 1.0 Vrms (generator on), and 0.030 Vrms (generator off).

A. R = 1.0/.03 = 33

B. log(30) = 1.52

C. 20 x 1.48 = about 30 dB (this meets the requirement for step D)

D. MDS = -107 dBm - 30 dB = -137 dBm

A A good receiver should produce a S+N (generator on) reading of roughly 0.4-0.8 Vrms, and more importantly, an MDS of about -135 dB or better. With an audio filter installed, the S+N and N readings may be higher, especially if you've modified the gain settings, but the MDS should be about the same.  Many factors can affect the S+N and N readings, including whether a filter or noise blanker is installed, which band is selected, how the band-pass filters and BFOs are aligned. If the estimated MDS value is lower than expected, make sure that you have the preamp on, AGC off, ATU in bypass mode, and RF GAIN set fully clockwise. Typical receivers should produce a S+N (generator on) reading of roughly 0.1-0.2 Vrms, and an MDS of about -130 dB.

S-Meter Calibration (Using 50 μV Signal)

50 microvolts is widely used as the standard for an S-meter reading of "S-9". The manufacturer of your receiver or transceiver may prefer a different level; consult its manual. Also note that Smeter readings are relative. On some transceivers, turning the preamp off or the attenuator on will drop the indicated value.